## Cluster_4_28_MASTER_ExportFeatu
OBJECTID | UID | Cost_symbol | Cost_per_c | Cost_Estim | Name | island | Census_tract | Priority_1_Cesspool_Count | Priority_2_Cesspool_Count | Priority_3_Cesspool_Count | Total_Cesspools | WWTP_1_Name | WWTP_2_Name | Cost_per_k | Total_N_load_kg_yr | Flow_rt | W_in_2_miles_service_area | WWTP_Capacity | Details | Status | RelavantLink_1 | RelavantLink_2 | RelevantLink_3 | Shape_Length | Shape_Area | Total_TMK_Cnt | Gravity_Feet | Remainder_TMK_Cnt | Remainder_Ft_to_NPS | Pressure_Feet | NPS_Cnt | NPS_TMK_Cnt | Grav_TMK_Cnt | Remainder_TMK_Cnt
1 | H-18 | $$$$$ | 0 | 0 | Hawaiian Beaches | Hawaii | Pahoa- Makai | 0 | 0 | 1152 | 1154 |  |  | 0 | 43852 | 320812 | No |  | This project area is not within 2 miles of an existing wastewater service area but has been identified in the Puna Wastewater Facilities Plan as a potential project area. | Under Evaluation (E) | https://go.hawaii.edu/2Xi |  |  | 15151.1742 | 7681245.7619 | 3937 | 6309287.3757 | 881 | 601511.1255 | 35100.916 | 25 | 547 | 3043 | 894
2 | H-19 | $$$$$ | 0 | 0 | Nanawele Estates | Hawaii | Pahoa- Makai | 0 | 0 | 213 | 213 |  |  | 0 | 8094 | 59214 | No |  | This project area is not within 2 miles of an existing wastewater service area but has been identified in the Puna Wastewater Facilities Plan as a potential project area. | Under Evaluation (E) | https://go.hawaii.edu/2Xi |  |  | 4903.7591 | 1494944.023 | 998 |  | 991 | 1666094.3427 | 68566.4078 | 7 | 667 |  | 998
3 | H-20 | $$$$$ | 0 | 0 | Seaview | Hawaii | Kalapana-Kapoho | 0 | 0 | 187 | 187 |  |  | 0 | 7106 | 51986 | No |  | This area has no active plans for centralized municipal or private sewer. | No Active Plans (N) | https://go.hawaii.edu/iXk |  |  | 4930.5178 | 1097117.9174 | 850 | 176.1292 | 858 | 1074554.8578 | 59443.6448 | 5 | 392 | 2 | 848
4 | H-21 | $$$$$ | 0 | 0 | Kehena | Hawaii | Kalapana-Kapoho | 0 | 0 | 44 | 44 |  |  | 0 | 1672 | 12232 | No |  | This area has no active plans for centralized municipal or private sewer. | No Active Plans (N) | https://go.hawaii.edu/2Xi |  |  | 1754.6328 | 197941.1535 | 172 | 83622.1619 | 34 | 7143.0406 | 1798.112 | 3 | 23 | 110 | 62
5 | H-1 | $$$ | 140000 | 8600000 | Pahala | Hawaii | Kau | 0 | 0 | 58 | 60 |  |  | 3785 | 2272 | 16680 | Yes, County | Yes | Construction has been started on this project. A Notice to Proceed for the construction of the Pāhala Wastewater Treatment Plant was issued on March 6, 2026. | Planned or Underway (P) | https://go.hawaii.edu/mXi |  |  | 3381.009 | 362918.0035 | 178 | 247793.8523 | [5 empty] | 91 | 87
6 | H-2 | $$$$ | 250000 | 11000000 | Naalehu | Hawaii | Ka Lae | 0 | 0 | 46 | 43 |  |  | 6756 | 1628 | 11954 | Yes, County | Yes | This project is in the planned or underway phase. EPA approval has been received and a revised compliance deadline to submit the Nā‘ālehu EID from January 20, 2026, to May 21, 2027. | Planned or Underway (P) | https://go.hawaii.edu/iXr |  |  | 3797.0554 | 486266.675 | 228 | 305873.6769 | 7 | 2398.9501 | 744.0073 |  |  | 221 | 7
7 | H-22 | $$$$$ | 0 | 0 | Kaʻohe | Hawaii | South Kona | 0 | 0 | 120 | 120 |  |  | 0 | 4560 | 33360 | No |  | This area has no active plans for centralized municipal or private sewer. | No Active Plans (N) |  |  |  | 2064.595 | 239206.4688 | 190 |  | 134 | 88798.7278 | 41589.3118 | 4 | 134 |  | 190
8 | H-23 | $$$$$ | 0 | 0 | Kīloa | Hawaii | Konawaena | 0 | 0 | 187 | 187 | Heeia (Keauhou-Kona Resort) |  | 0 | 7106 | 51986 | Yes, Private |  | This area has no active plans for centralized municipal or private sewer. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 2992.7355 | 564303.7931 | 216 | 211439.0345 | 60 | 51391.0076 | 2522.6933 | 3 | 69 | 132 | 84
9 | H-24 | $$$$$ | 0 | 0 | Captain Cook | Hawaii | Konawaena | 0 | 0 | 110 | 110 | Heeia (Keauhou-Kona Resort) |  | 0 | 4180 | 30580 | Yes, Private |  | This area has no active plans for centralized municipal or private sewer. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 2919.2003 | 480798.7203 | 156 | 120371.3272 | 46 | 22861.8203 | 3994.0071 | 3 | 49 | 105 | 51
10 | H-25 | $$$$$ | 0 | 0 | Kealakekua | Hawaii | Konawaena | 0 | 0 | 314 | 314 | Heeia (Keauhou-Kona Resort) |  | 0 | 11932 | 87292 | Yes, Private |  | This area has no active plans for centralized municipal or private sewer. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 4249.0648 | 1181337.7678 | 409 | 209601.9394 | 198 | 156633.502 | 11106.7234 | 7 | 193 | 196 | 213
11 | H-16 | $$$$$ | 390000 | 58200000 | Kuakini Heights | Hawaii | Kahalu'u Mauka | 0 | 148 | 0 | 148 | Kealakehe |  | 10385 | 5604 | 41144 | Yes, County & Private | Yes, but not for every area. | This project area is within 2 miles of the existing municipal Kealakehe wastewater service area and a private wastewater service area. There are currently no Hawaiʻi County or private-sector plans to extend wastewater service to this area. However, the Kealakehe WWTP may have limited available capacity to serve all or part of the project area, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 2889.3683 | 368882.375 | 130 | 72895.377 | 97 | 180976.2958 | 1738.0345 | 2 | 101 | 39 | 91
12 | H-17 | $$ | 80000 | 123400000 | Holualoa | Hawaii | Holualoa | 1543 | 5 | 1 | 1549 | Kealakehe |  | 2104 | 58653 | 430622 | Yes, County & Private | Yes, but not for every area. | This project area is within 2 miles of the existing municipal Kealakehe wastewater service area and a private wastewater service area. There are currently no Hawaiʻi County or private-sector plans to extend wastewater service to this area. However, the Kealakehe WWTP may have limited available capacity to serve all or part of the project area, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 9969.1438 | 3909580.6253 | 1577 | 2137643.453 | 516 | 331071.6695 | 22285.471 | 27 | 566 | 867 | 710
13 | H-3 | $$$$$ | 350000 | 30600000 | Hillcrest | Hawaii | Pua'a | 88 | 0 | 0 | 88 | Kealakehe |  | 9183 | 3332 | 24464 | Yes, County | Yes, but not for every area. | This project area is within 2 miles of the existing municipal Kealakehe wastewater service area and a private wastewater service area. There are currently no Hawaiʻi County or private-sector plans to extend wastewater service to this area. However, the Kealakehe WWTP may have limited available capacity to serve all or part of the project area, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 1517.6609 | 92628.5204 | 99 | 97946.3025 | 14 | 1311.4665 | 739.3022 | 3 | 22 | 77 | 22
14 | H-4 | $$ | 80000 | 57400000 | Kailua-Kona | Hawaii | Kailua | 680 | 0 | 0 | 680 | Kealakehe |  | 2229 | 25748 | 189040 | Yes, County | Yes, but not for every area. | This project area is within 2 miles of the existing municipal Kealakehe wastewater service area and a private wastewater service area. There are currently no Hawaiʻi County or private-sector plans to extend wastewater service to this area. However, the Kealakehe WWTP may have limited available capacity to serve all or part of the project area, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 5584.1294 | 1536881.3611 | 666 | 526463.9113 | 215 | 145210.2557 | 15316.5803 | 18 | 246 | 405 | 261
15 | H-5 | $$ | 80000 | 40500000 | Kealakehe HHL | Hawaii | Kealakehe | 110 | 393 | 0 | 503 | Kealakehe |  | 2126 | 19046 | 139834 | Yes, County | Yes, but not for every area. | This project area is within 2 miles of the existing municipal Kealakehe wastewater service area and a private wastewater service area. There are currently no Hawaiʻi County or private-sector plans to extend wastewater service to this area. However, the Kealakehe WWTP may have limited available capacity to serve all or part of the project area, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) |  |  |  | 3883.649 | 1059177.71 | 551 | 701511.2288 | 125 | 52503.181 | 10146.2586 | 10 | 141 | 410 | 141
16 | H-26 | $$$$$ | 0 | 0 | Kalaoa | Hawaii | Kalaoa | 0 | 0 | 1616 | 1616 |  |  | 0 | 61408 | 449248 | No |  | This area has no active plans for centralized municipal or private sewer. | No Active Plans (N) |  |  |  | 12196.6828 | 9096015.4351 | 2639 | 3853159.1736 | 1100 | 947372.6775 | 71924.795 | 55 | 845 | 1316 | 1323
17 | H-27 | $$$$$ | 0 | 0 | Haiwi | Hawaii | North Kohala | 0 | 0 | 331 | 331 |  |  | 0 | 12578 | 92018 | No |  | This area has no active plans for centralized municipal or private sewer. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 5483.8438 | 1862424.0754 | 359 | 126308.8008 | 164 | 236433.0634 | 19234.0083 | 8 | 100 | 163 | 196
18 | H-28 | $$$$$ | 0 | 0 | Kapaau | Hawaii | North Kohala | 0 | 0 | 222 | 222 |  |  | 0 | 8436 | 61716 | No |  | This area has no active plans for centralized municipal or private sewer. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 3354.5078 | 701825.8132 | 256 | 40203.1522 | 178 | 118155.0567 | 21544.5904 | 10 | 134 | 49 | 207
19 | H-39 | $$$ | 180000 | 0 | Waiʻaka | Hawaii | Waimea - Kohala | 10 | 0 | 273 | 283 | Waimea Wastewater Company, Inc. |  | 0 | 10754 | 78674 | Yes, Private |  | This project area has been identified as a potential project area in the Puakō and South Kohala Regional Wastewater Master Plan. | Under Evaluation (E) | https://go.hawaii.edu/iXN |  |  | 6218.6752 | 1285466.3284 | 418 | 243677.4771 | 169 | 156043.8172 | 7062.8676 | 7 | 181 | 231 | 187
20 | H-40 | $$$ | 150000 | 0 | Waimea | Hawaii | Waimea - Pu'u Anahulu | 0 | 0 | 585 | 585 | Waimea Wastewater Company, Inc. |  | 0 | 22230 | 162630 | Yes, Private |  | This project area has been identified as a potential project area in the Puakō and South Kohala Regional Wastewater Master Plan. | Under Evaluation (E) | https://go.hawaii.edu/iXN |  |  | 11869.5635 | 4333417.9616 | 981 | 1287351.5254 | 159 | 104950.6111 | 12465.7449 | 13 | 190 | 717 | 264
21 | H-41 | $$$$ | 280000 | 0 | East Waimea | Hawaii | Waimea - Kohala | 0 | 0 | 225 | 225 | Waimea Wastewater Company, Inc. |  | 0 | 8550 | 62550 | Yes, Private |  | This project area has been identified as a potential project area in the Puakō and South Kohala Regional Wastewater Master Plan. | Under Evaluation (E) | https://go.hawaii.edu/iXN |  |  | 4402.124 | 1267150.4179 | 421 | 715923.758 | 27 | 4287.5541 | 2507.5582 | 6 | 34 | 381 | 40
22 | H-29 | $$$$$ | 0 | 0 | Puʻukapu Homesteads | Hawaii | Waimea - Kohala | 0 | 0 | 181 | 181 |  |  | 0 | 6878 | 50318 | No |  | This project area has been identified as a potential project area in the Puakō and South Kohala Regional Wastewater Master Plan. | Under Evaluation (E) |  |  |  | 3035.0437 | 496813.3674 | 225 | 479666.1586 | 10 | 2139.5382 | 917.3245 | 2 | 15 | 210 | 15
23 | H-30 | $$$$$ | 0 | 0 | Puʻukapu Homesteads East | Hawaii | Waimea - Kohala | 0 | 0 | 244 | 244 |  |  | 0 | 9272 | 67832 | No |  | This project area has been identified as a potential project area in the Puakō and South Kohala Regional Wastewater Master Plan. | Under Evaluation (E) |  |  |  | 2898.6491 | 445169.2452 | 280 | 807658.5564 | 23 | 7996.9128 | 772.7088 | 1 | 26 | 254 | 26
24 | H-31 | $$$$$ | 0 | 0 | Ola Mamalahoa Hwy West | Hawaii | Waimea - Pu'u Anahulu | 0 | 0 | 253 | 253 |  |  | 0 | 9614 | 70334 | No |  | This project area has been identified as a potential project area in the Puakō and South Kohala Regional Wastewater Master Plan. | Under Evaluation (E) |  |  |  | 3308.5468 | 695888.0946 | 285 | 300028.7681 | 73 | 47552.0954 | 7293.6404 | 3 | 61 | 196 | 89
25 | H-6 | $$$ | 110000 | 67200000 | Honokaa | Hawaii | Honokaa-Kukuihaele | 0 | 0 | 631 | 631 | Honokaa WWTP |  | 2813 | 23893 | 175418 | Yes, County | Yes, but very limited | This project area is within 2 miles of the existing municipal Honokaʻa wastewater service area. There are currently no Hawaiʻi County plans to extend service to this area. However, the Honokaa WWTP may have very limited available capacity for less than 200 homes with cesspools, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 7075.1042 | 2820015.2462 | 833 | 912039.63 | 328 | 154862.5219 | 24567.3241 | 19 | 343 | 352 | 481
26 | H-7 | $$$$ | 210000 | 24200000 | Paauhau | Hawaii | Paauhau-Paauilo | 0 | 0 | 115 | 115 | Honokaa WWTP |  | 5558 | 4354 | 31970 | Yes, County | Yes, but very limited | This project area is within 2 miles of the existing municipal Honokaʻa wastewater service area. There are currently no Hawaiʻi County plans to extend service to this area. However, the Honokaa WWTP may have very limited available capacity for less than 200 homes with cesspools, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 1802.7055 | 208239.0116 | 130 |  | 152 | 159524.6416 | 5339.4833 | 2 | 35 |  | 130
27 | H-32 | $$$$$ | 0 | 0 | Paauilo | Hawaii | Paauhau-Paauilo | 0 | 0 | 139 | 139 |  |  | 0 | 5282 | 38642 | No |  | This area has no active plans for centralized municipal or private sewer. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 2497.1163 | 383520.9559 | 155 | 18897.7692 | 108 | 101275.5599 | 7813.247 | 4 | 80 | 16 | 139
28 | H-33 | $$$$$ | 0 | 0 | Laupahoehoe | Hawaii | North Hilo | 0 | 0 | 129 | 129 |  |  | 0 | 4902 | 35862 | No |  | This area has no active plans for centralized municipal or private sewer. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 2623.599 | 397578.8072 | 151 | 595654.3639 | 6 | 1441.9907 | 2066.6762 | 1 | 1 | 130 | 21
29 | H-8 | $$$ | 180000 | 35700000 | Honomu | Hawaii | Paukaa-Wailea | 0 | 0 | 202 | 202 | Kulaimano |  | 4667 | 7649 | 56156 | Yes, County | Yes, but not for every area. | This project area is within 2 miles of the existing municipal Kulaimano wastewater service area. There are currently no Hawaiʻi County plans to extend service to this area. However, the Kulaimano WWTP may have limited available capacity to serve all or part of the project area, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 3340.0558 | 774892.3457 | 242 | 88350.1317 | 54 | 36871.1744 | 1930.6102 | 2 | 58 | 121 | 121
30 | H-9 | $$$$$ | 310000 | 52100000 | Wainaku West | Hawaii | Hilo: Upper Waiakea Forest Reserve | 0 | 0 | 170 | 170 | Hilo WWTP |  | 8094 | 6437 | 47260 | Yes, County | Yes, but not for every area. | This project area is within 2 miles of the existing municipal Hilo wastewater service area. There are currently no Hawaiʻi County plans to extend service to this area. However, the Hilo WWTP may have limited available capacity to serve all or part of the project area, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 2926.7962 | 523920.07 | 213 | 1179171.1058 | 10 | 8700.8184 | 1629.0266 |  |  | 203 | 10
31 | H-10 | $$$$ | 270000 | 44300000 | Wainaku | Hawaii | Hilo: Upper Waiakea Forest Reserve | 0 | 0 | 166 | 166 | Hilo WWTP |  | 7048 | 6286 | 46148 | Yes, County | Yes, but not for every area. | This project area is within 2 miles of the existing municipal Hilo wastewater service area. There are currently no Hawaiʻi County plans to extend service to this area. However, the Hilo WWTP may have limited available capacity to serve all or part of the project area, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 2521.554 | 385079.1922 | 177 | 42198.6596 | 55 | 9250.3006 | 1979.288 | 6 | 62 | 97 | 80
32 | H-34 | $$$$$ | 0 | 0 | Ponahawai | Hawaii | Hilo: Kahuku-Kaumana | 0 | 0 | 129 | 129 |  |  | 0 | 4902 | 35862 | No |  | This project area is within 2 miles of the existing municipal Hilo wastewater service area. There are currently no Hawaiʻi County plans to extend service to this area. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 3043.4705 | 624172.017 | 351 | 725197.1124 | 32 | 21046.1507 | 2038.2536 |  |  | 249 | 102
33 | H-35 | $$$$$ | 0 | 0 | Kaūmana Homesteads | Hawaii | Hilo: Kahuku-Kaumana | 0 | 0 | 125 | 125 |  |  | 0 | 4750 | 34750 | No |  | This project area is within 2 miles of the existing municipal Hilo wastewater service area. There are currently no Hawaiʻi County plans to extend service to this area. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 2567.9141 | 285907.6671 | 130 | 139676.1805 | 4 | 305.9976 | 431.7856 | 1 | 6 | 123 | 7
34 | H-11 | $$$$$ | 310000 | 93300000 | Kaūmana | Hawaii | Hilo: Kahuku-Kaumana | 0 | 0 | 305 | 305 | Hilo WWTP |  | 8079 | 11549 | 84790 | Yes, County | Yes, but not for every area. | This project area is within 2 miles of the existing municipal Hilo wastewater service area. There are currently no Hawaiʻi County plans to extend service to this area. However, the Hilo WWTP may have limited available capacity to serve all or part of the project area, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 5540.7587 | 1734001.8741 | 520 | 438913.5836 | 186 | 107100.7301 | 6492.9904 | 8 | 207 | 299 | 221
35 | H-12 | $$ | 90000 | 170100000 | West Hilo | Hawaii | Hilo: Piihonua-Kaumana | 0 | 0 | 1919 | 1919 | Hilo WWTP |  | 2341 | 72663 | 533482 | Yes, County | Yes, but not for every area. | This project area is within 2 miles of the existing municipal Hilo wastewater service area. There are currently no Hawaiʻi County plans to extend service to this area. However, the Hilo WWTP may have limited available capacity to serve all or part of the project area, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 12357.783 | 9802371.6156 | 2668 | 3271973.5305 | 551 | 299157.5131 | 41956.6848 | 41 | 647 | 1995 | 673
36 | H-13 | $$$$ | 240000 | 48200000 | Hilo | Hawaii | Hilo: Villa Franca-Kaikoo | 0 | 198 | 0 | 198 | Hilo WWTP |  | 6429 | 7497 | 55044 | Yes, County | Yes, but not for every area. | This project area is within 2 miles of the existing municipal Hilo wastewater service area. There are currently no Hawaiʻi County plans to extend service to this area. However, the Hilo WWTP may have limited available capacity to serve all or part of the project area, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 3590.3384 | 645012.5434 | 235 | 125167.7497 | 62 | 38002.917 | 4070.9587 | 4 | 72 | 163 | 72
37 | H-14 | $$ | 70000 | 367100000 | South Hilo | Hawaii | Hilo: Puainako | 0 | 737 | 4469 | 5206 | Hilo WWTP |  | 1862 | 197124 | 1447268 | Yes, County | Yes, but not for every area. | This project area is within 2 miles of the existing municipal Hilo wastewater service area. There are currently no Hawaiʻi County plans to extend service to this area. However, the Hilo WWTP may have limited available capacity to serve all or part of the project area, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 17426.4966 | 20682370.7993 | 6983 | 8596309.2367 | 1506 | 1132273.8077 | 77041.4087 | 92 | 1684 | 4886 | 2097
38 | H-36 | $$$$$ | 0 | 0 | Keaau | Hawaii | Keaau | 0 | 0 | 188 | 188 |  |  | 0 | 7144 | 52264 | No |  | This project area is not within 2 miles of an existing wastewater service area but has been identified in the Puna Wastewater Facilities Plan as a potential project area. | Under Evaluation (E) | https://go.hawaii.edu/2Xi |  |  | 4760.2391 | 1416792.1261 | 283 | 65437.9777 | 218 | 163199.5858 | 17263.1905 | 9 | 204 | 35 | 248
39 | H-37 | $$$$$ | 0 | 0 | Mountain View | Hawaii | Volcano-Mt. View | 0 | 0 | 109 | 109 |  |  | 0 | 4142 | 30302 | No |  | This project area is not within 2 miles of an existing wastewater service area but has been identified in the Puna Wastewater Facilities Plan as a potential project area. | Under Evaluation (E) | https://go.hawaii.edu/2Xi |  |  | 2701.1743 | 411249.2567 | 374 | 651266.5915 | 144 | 44915.3388 | 6178.9347 |  |  | 230 | 144
40 | H-15 | $$$ | 120000 | 22000000 | Keaukaha | Hawaii | Hilo: Keaukaha-Panaewa | 0 | 189 | 0 | 189 | Hilo WWTP |  | 3074 | 7156 | 52542 | Yes, County | Yes, but not for every area. | This project area is within 2 miles of the existing municipal Hilo wastewater service area. There are currently no Hawaiʻi County plans to extend service to this area. However, the Hilo WWTP may have limited available capacity to serve all or part of the project area, depending on how capacity is allocated among future connections in surrounding areas. | No Active Plans (N) | https://go.hawaii.edu/XXi |  |  | 4004.6191 | 672849.6496 | 246 | 390536.1501 | [5 empty] | 246
41 | H-38 | $$$$$ | 0 | 0 | Tiki Gardens | Hawaii | Orchidland-Ainaloa | 0 | 0 | 624 | 624 |  |  | 0 | 23712 | 173472 | No |  | This project area is not within 2 miles of an existing wastewater service area but has been identified in the Puna Wastewater Facilities Plan as a potential project area. | Under Evaluation (E) | https://go.hawaii.edu/2Xi |  |  | 9385.9074 | 5129498.7363 | 2665 | 70204067.0518 | 816 | 1437253.9718 | 19588.2848 | 8 | 746 | 1865 | 800
42 | M-1 | $$$$ | 290000 | 46800000 | Waikapu | Maui | Waihee-Waikapu | 0 | 161 | 0 | 161 | Wailuku-Kahului |  | 7677 | 6096 | 44758 | Yes, County | No | Based on a March 2026 meeting with the Maui County Department of Environmental Management, there are two projects under design and planned for county sewer service in this area. A Maui County study will be conducted to determine additional capacity at the Wailuku-Kahului WWTP. A Central Maui Wastewater Reclamation Facility is also planned. See relevant document(s) below. | Planned or Underway (P) | https://go.hawaii.edu/mCw | https://go.hawaii.edu/iXi |  | 3074.3385 | 554671.023 | 281 | 171190.6108 | 68 | 9910.1376 | 2025.5539 | 5 | 94 | 187 | 94
43 | M-2 | $$$$$ | 660000 | 38100000 | Old Wailuku Heights | Maui | Kamaile St. | 0 | 0 | 58 | 58 | Wailuku-Kahului |  | 17348 | 2196 | 16124 | Yes, County | No | Based on a March 2026 meeting with the Maui County Department of Environmental Management, this project area is under evalauation and is in the CIP 5+ years from now, however, steep slope and terrain conditions may pose challenges. A Maui County study will be conducted to determine additional capacity at the Wailuku-Kahului WWTP. A Central Maui Wastewater Reclamation Facility is also planned. See relevant document(s) below. | Under Evaluation (E) | https://go.hawaii.edu/mCw | https://go.hawaii.edu/iXi |  | 1409.4122 | 132071.2115 | 82 | 148399.1471 | [5 empty] | 82
44 | M-3 | $$$$$ | 490000 | 38700000 | Waihehe | Maui | Waihee-Waikapu | 0 | 79 | 0 | 79 | Wailuku-Kahului |  | 12937 | 2991 | 21962 | Yes, County | No | Based on a March 2026 meeting with Maui County Department of Environmental Management, this project area is being looked at by an in-house study. It is not currently in a any plan. A Maui County study will be conducted to determine additional capacity at the Wailuku-Kahului WWTP. A Central Maui Wastewater Reclamation Facility is also planned. See relevant document(s) below. | Under Evaluation (E) | https://go.hawaii.edu/mCw | https://go.hawaii.edu/iXi |  | 1523.3329 | 154746.1532 | 98 | 36622.075 | 37 | 9065.6422 | 2691.4176 | 1 | 12 | 58 | 40
45 | M-4 | $$$ | 160000 | 40200000 | Wahikuli | Maui | Kahoma | 252 | 0 | 0 | 252 | Lahaina WWTP |  | 4213 | 9542 | 70056 | Yes, County | Yes, with exceptions. | Based on a March 2026 meeting with Maui County Department of Environmental Management, this project area has been studied through an EPA-funded project, however, the project is not currenlty funded. The Lahaina WWTP has capacity, however NPDES permit discussions may not allow the connection of more homes at this time. See relevant document(s) below. | Under Evaluation (E) | https://go.hawaii.edu/mCw |  |  | 2443.0862 | 382975.7724 | 219 | 62840.3045 | 1 | 54.9675 | 162.9249 | 1 | 2 | 101 | 118
46 | M-7 | $$ | 100000 | 62000000 | Maui Meadows | Maui | Kula Makai | 0 | 616 | 0 | 616 | Kihei WWTP | Makena Resort | 2658 | 23325 | 171248 | Yes, County & Private | Yes, with exceptions. | Based on a March 2026 meeting with the Maui County Department of Environmental Management, the county is not planning to implement a project in this area. The Kihei WWTP may have some capacity, but vacant properties may be first in line to be connected. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/mCw | https://go.hawaii.edu/iXR |  | 5588.3643 | 1904339.1727 | 645 | 1828467.6522 | 84 | 21523.1761 | 6312.1155 | 13 | 118 | 524 | 121
47 | M-8 | $$$$$ | 0 | 0 | Kula | Maui | Lava Fields | 0 | 0 | 176 | 176 |  |  | 0 | 6688 | 48928 | No |  | The majority of the Makawao-Pukalani-Kula Community Plan area is served by individual cesspools/septic tanks. It is expected that new developments in the Upcountry area, aside from those in Hāli`imaile, will all be served by septic systems as required by the State Department of Health See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/mCw | https://go.hawaii.edu/iXi |  | 4957.2401 | 1318424.1389 | 411 | 73015.3821 | 349 | 437470.5152 | 28880.3718 | 7 | 376 | 32 | 379
48 | M-9 | $$$$$ | 0 | 0 | ʻŌmaʻopio | Maui | Lava Fields | 0 | 0 | 209 | 209 |  |  | 0 | 7942 | 58102 | No |  | The majority of the Makawao-Pukalani-Kula Community Plan area is served by individual cesspools/septic tanks. It is expected that new developments in the Upcountry area, aside from those in Hāli`imaile, will all be served by septic systems as required by the State Department of Health See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/mCw | https://go.hawaii.edu/iXi |  | 3187.8026 | 707217.6258 | 262 | 133252.3804 | 220 | 308006.4931 | 4572.5064 | 4 | 229 | 77 | 185
49 | M-14 | $$ | 80000 | 0 | Pukalani | Maui | Aapueo Parkway | 0 | 0 | 1207 | 1207 | Pukalani WWTP |  | 0 | 45866 | 335546 | Yes, Private |  | The surrounding area is served by a private system (Hawaiʻi Water Service). Maui County is not involved. Private package plant; no incentive to expand.. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/mCw |  |  | 7872.5295 | 3993519.1543 | 1606 | 944808.7929 | 528 | 566970.2931 | 24111.0298 | 24 | 559 | 973 | 633
50 | M-15 | $$$$$ | 50000 | 0 | Makawao | Maui | Haliimaile | 0 | 0 | 1802 | 1802 |  |  | 0 | 68476 | 500956 | No |  | Based on an October 2025 meeting with the Maui County Department of Environmental Management, the county did a rough study ~6–7 yrs ago ($300–400 M, now likely double) $600M+, not published. Corollo is also reviewing this area. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/mCw |  |  | 9131.185 | 5670527.5146 | 1908 | 2321512.6447 | 600 | 512782.5978 | 33521.0239 | 32 | 730 | 1093 | 815
51 | M-10 | $$$$$ | 0 | 0 | Haiku | Maui | East Haiku | 0 | 0 | 253 | 253 |  |  | 0 | 9614 | 70334 | No |  | Based on an October 2025 meeting with the Maui County Department of Environmental Management, this area is low density and potentially suited only for decentralized or on-site systems See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/mCw |  |  | 3795.319 | 1025813.254 | 382 | 960110.0283 | 86 | 61858.1445 | 8779.7501 | 2 | 53 | 305 | 77
52 | M-11 | $$$$$ | 0 | 0 | East Haiku | Maui | East Haiku | 0 | 0 | 99 | 99 |  |  | 0 | 3762 | 27522 | No |  | Based on an October 2025 meeting with the Maui County Department of Environmental Management, this area is low density and potentially suited only for decentralized or on-site systems See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/mCw |  |  | 2092.0536 | 298684.9096 | 124 | 52655.6076 | 167 | 203185.7677 | 4494.3949 | 4 | 149 | 48 | 76
53 | M-12 | $$$$$ | 0 | 0 | Hana | Maui | Hana | 0 | 0 | 108 | 108 |  |  | 0 | 4104 | 30024 | No |  | This area is not in proximty to county or private systems and is potentially suited only for decentralized or on-site systems See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/mCw |  |  | 1927.2092 | 236751.4778 | 134 | 92583.48 | 107 | 59963.0538 | 1582.2249 | 3 | 111 | 63 | 71
54 | M-13 | $$$$$ | 0 | 0 | Paʻuwela | Maui | East Haiku | 0 | 0 | 108 | 108 |  |  | 0 | 4104 | 30024 | No |  | Based on an October 2025 meeting with the Maui County Department of Environmental Management, this area is low density and potentially suited only for decentralized or on-site systems See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/mCw |  |  | 2598.6269 | 405118.4427 | 161 | 149912.8471 | 27 | 9866.6809 | 2309.2305 | 2 | 16 | 130 | 31
55 | Mo-1 | $$$ | 130000 | 37500000 | Puili and Pano Pl | Molokai | East Molokai | 0 | 0 | 0 | 281 | Kaunakakai Wastewater Treatment Plant |  | 3524 | 10640 | 78118 | Yes, County | No | Based on an October 2025 meeting with the Maui County Department of Environmental Management, topography prevents county sewer expansion to this area. The closest treatment plant - Kaunakakai WWTP is located in a sea level rise zone and may need to be relocated. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/mCw | https://go.hawaii.edu/iXK |  | 7535.9252 | 2136105.6769 | 459 | 457561.1905 | 5 | 644.3324 | 1275.394 | 1 | 7 | 452 | 7
56 | Mo-2 | $$$$$ | 410000 | 41300000 | North Kalae Hwy | Molokai | West Molokai | 0 | 0 | 0 | 100 | Kualapuu Sewerage System |  | 10907 | 3786 | 27800 | Yes, County | No | Based on an October 2025 meeting with the Maui County Department of Environmental Management, topography prevents county sewer expansion to this area. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/mCw | https://go.hawaii.edu/iXK |  | 2078.9963 | 226111.8958 | 135 | 15819.811 | 72 | 32484.3965 | 1780.75 | 3 | 83 | 54 | 81
57 | O-1 | $$ | 80000 | 14900000 | Waimanalo Beach | Oahu | Waimanalo Bay Beach Park | 181 | 0 | 0 | 181 | Waimanalo Wastewater Treatment Plant |  | 2174 | 6854 | 50318 | Yes, County | Yes | This project area has been identified in the Six-Year CIP and Budget FY 2026-2031. Relevant document (page 224) : https://go.hawaii.edu/m8T. A study for WWTP capacity is underway. | Under Evaluation (E) | https://go.hawaii.edu/8Xi |  |  | 2903.1808 | 387235.9121 | 264 | 173362.9953 | [5 empty] | 264
58 | O-2 | $$$ | 120000 | 15600000 | Kailua | Oahu | Kalaheo Avenue | 127 | 0 | 0 | 127 | Kailua |  | 3244 | 4809 | 35306 | Yes, County | Yes | This project area has been identified in the Six-Year CIP and Budget FY 2026-2031. Relevant document (page 222) : https://go.hawaii.edu/m8T See relevant document(s) below. | Under Evaluation (E) | https://go.hawaii.edu/8Xi |  |  | 2848.844 | 424916.0717 | 193 | 434421.7162 | [5 empty] | 193
59 | O-3 | $$$$$ | 510000 | 61300000 | Ahuimanu | Oahu | Kahaluu-Waikane | 0 | 101 | 31 | 120 | Kailua |  | 13491 | 4544 | 33360 | Yes, County | Yes | Project Planning funds included in the Fiscal Year 2025 CIP Budget. Project title "Kahaluu Sewers, Section 3, Improvement District". Planning contract in process. See relevant document(s) below. | Under Evaluation (E) | https://go.hawaii.edu/8Xi |  |  | 7724.0867 | 1783258.3117 | 205 | 425336.9995 | 83 | 62901.6677 | 3494.2801 | 3 | 92 | 113 | 92
60 | O-4 | $$$$ | 220000 | 74300000 | Kahaluu | Oahu | Kahaluu-Waikane | 0 | 224 | 0 | 345 | Kailua |  | 5688 | 13063 | 95910 | Yes, County | Yes | According to a 10/14/25 meeting with Honolulu ENV, Project Planning funds are included in the Fiscal Year 2025 CIP Budget. Project title "Kahaluu Sewers, Section 3, Improvement District". A planning contract is in process. Relevant document: https://go.hawaii.edu/m8T. Northward expansion may be limited. | Under Evaluation (E) | https://go.hawaii.edu/8Xi |  |  | 12760.7524 | 1836913.8841 | 467 | 132621.2036 | 453 | 697660.3644 | 30324.8073 | 7 | 455 | 71 | 396
61 | O-18 | $$$$$ | 0 | 0 | Kaaawa | Oahu | Kaaawa | 144 | 0 | 0 | 144 |  |  | 0 | 5472 | 40032 | No |  | According to a 10/14/25 meeting with Honolulu ENV, this project area is too far away from a City & County of Honolulu system. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/nXi |  |  | 4179.0581 | 758476.8667 | 281 | 271430.2718 | [5 empty] | 281
62 | O-19 | $$$$$ | 0 | 0 | Hauula | Oahu | Hauula | 63 | 0 | 0 | 64 |  |  | 0 | 2432 | 17792 | No |  | According to a 10/14/25 meeting with Honolulu ENV, this project area is too far away from a City & County of Honolulu system. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/nXi |  |  | 2226.8089 | 190402.9364 | 96 | 140161.3555 | [5 empty] | 96
63 | O-5 | $$$ | 130000 | 46500000 | North Hauula | Oahu | Laie | 360 | 0 | 0 | 363 | Laie WWTP (BYU-Hawaii) |  | 3383 | 13745 | 100914 | No | No | According to a 10/14/25 meeting with Honolulu ENV, this project area is too far away from a City & County of Honolulu system. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/nXi |  |  | 5658.4757 | 1450239.0269 | 677 | 740923.9554 | 72 | 14195.8646 | 2252.2315 | 3 | 56 | 596 | 81
64 | O-20 | $$$$$ | 0 | 0 | Pupukea | Oahu | Sunset Beach | 425 | 0 | 0 | 425 |  |  | 0 | 16150 | 118150 | No |  | According to a 10/14/25 meeting with Honolulu ENV, this project area is too far away from a City & County of Honolulu system. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/iXF |  |  | 11202.4831 | 3133413.3026 | 827 | 952671.4183 | 181 | 99174.2263 | 6767.0943 | 11 | 190 | 563 | 264
65 | O-21 | $$$$$ | 0 | 0 | Kawailoa | Oahu | Kawailoa | 70 | 0 | 0 | 70 |  |  | 0 | 2660 | 19460 | No |  | According to a 10/14/25 meeting with Honolulu ENV, this project area is too far away from a City & County of Honolulu system. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/iXF |  |  | 1488.2987 | 99729.491 | 108 | 82016.5316 | 6 | 520.6097 | 207.4265 | 1 | 13 | 95 | 13
66 | O-6 | $$$ | 110000 | 20000000 | Waialua and Haleiwa | Oahu | Haleiwa | 181 | 0 | 0 | 181 | Paalaa Kai Wastewater Treatment Plant; 768-4534 or 4535 |  | 2918 | 6854 | 50318 | Yes, County | No | According to a 10/14/25 meeting with Honolulu ENV, this area is under review throuh the "Paalaa Kai Wastewater Facilities Plan". It has not been determined if a County System is feasible. Therefore, a Private System may be needed. See relevant document(s) below. | Under Evaluation (E) | https://go.hawaii.edu/iXF |  |  | 3770.4296 | 746446.3228 | 334 | 289101.3231 | 3 | 493.1582 | 265.5618 | 1 | 6 | 328 | 6
67 | O-7 | $$$ | 120000 | 39300000 | Waialua | Oahu | Waialua District Park | 335 | 0 | 0 | 335 | Paalaa Kai Wastewater Treatment Plant; 768-4534 or 4535 |  | 3098 | 12685 | 93130 | Yes, County | No | According to a 10/14/25 meeting with Honolulu ENV, this area is under review throuh the "Paalaa Kai Wastewater Facilities Plan". It has not been determined if a County System is feasible. Therefore, a Private System may be needed. See relevant document(s) below. | Under Evaluation (E) | https://go.hawaii.edu/iXF |  |  | 4795.1681 | 1510313.1485 | 480 | 378530.6749 | 166 | 138608.0451 | 2179.675 | 4 | 173 | 310 | 170
68 | O-8 | $$ | 90000 | 34200000 | Mokuleia | Oahu | Mokuleia | 396 | 0 | 0 | 396 | Paalaa Kai Wastewater Treatment Plant; 768-4534 or 4535 |  | 2281 | 14994 | 110088 | Yes, County | No | According to a 10/14/25 meeting with Honolulu ENV, this area is under review throuh the "Paalaa Kai Wastewater Facilities Plan". It has not been determined if a County System is feasible. Therefore, a Private System may be needed. See relevant document(s) below. | Under Evaluation (E) | https://go.hawaii.edu/iXF |  |  | 5469.2973 | 1206445.5385 | 585 | 507078.9941 | [5 empty] | 585
69 | O-9 | $$$$$ | 550000 | 42300000 | Makua Valley | Oahu | Makua Valley | 77 | 0 | 0 | 77 | Waianae WWTP |  | 14508 | 2916 | 21406 | Yes, County | No | This project area will be in the FY 2027 CIP. | Under Evaluation (E) | https://go.hawaii.edu/aXi |  |  | 2098.4168 | 188546.6849 | 132 | 552056.5125 | [5 empty] | 132
70 | O-22 |  |  |  | Waianae Hawaiian Homeland | Oahu | Kaupuni Neighborhood Park | 0 | 99 | 0 | 99 | Waianae WWTP |  |  |  |  | Yes, County |  |  | No Active Plans (N) |  |  |  | 3194.6235 | 501697.7733 | 235 | 552233.1461 | 78 | 21699.2528 | 503.9602 | 1 | 9 | 176 | 59
71 | O-11 | $ | 50000 | 46600000 | Ewa Beach | Oahu | Keanui Drive-Hoomahana Street | 886 | 0 | 0 | 889 | Honouliuli WWTP |  | 1384 | 33662 | 247142 | Yes, County | Yes | According to a 10/14/25 meeting with Honolulu ENV, ENV is trying to find a way to proceed with the project by addressing community concerns. See relevant document(s) below. | Planned or Underway (P) | https://go.hawaii.edu/8Xi |  |  | 4534.0502 | 1057358.5041 | 993 | 1095801.9236 | 11 | 647.5552 | 526.712 | 3 | 21 | 972 | 21
72 | O-12 | $$$$$ | 840000 | 48600000 | Kaimuki | Oahu | Kaimuki: Kapiolani Community College | 0 | 0 | 58 | 58 | Sand Island WWTP/Synagro |  | 22130 | 2196 | 16124 | Yes, County | Yes | This project area will be included in the FY 2027 CIP. | Under Evaluation (E) | https://go.hawaii.edu/iXb |  |  | 1050.2525 | 67848.8614 | 88 | 59329.8349 | 5 | 203.7456 | 44.9578 | 1 | 10 | 82 | 6
73 | O-13 | $$$$$ | 2040000 | 51100000 | Diamond head | Oahu | Kapiolani Park | 25 | 0 | 0 | 25 | Sand Island WWTP/Synagro |  | 53982 | 947 | 6950 | Yes, County | Yes | According to a 10/14/25 meeting with Honolulu ENV, Project Planning funds are included in Fiscal Year 2025 CIP Budget. Project title "Diamond Head Sewers, Improvement District". Planning contract in process. Relevant document: https://go.hawaii.edu/m8T See relevant document(s) below. | Under Evaluation (E) | https://go.hawaii.edu/8Xi |  |  | 1739.3663 | 133430.1943 | 53 | 38528.68 | 4 | 684.83 | 361.5426 |  |  | 49 | 4
74 | O-14 | $$$$$ | 450000 | 62000000 | Diamond head | Oahu | Diamond Head | 0 | 139 | 0 | 139 | Sand Island WWTP/Synagro |  | 11780 | 5263 | 38642 | Yes, County | Yes | According to a 10/14/25 meeting with Honolulu ENV, Project Planning funds are included in Fiscal Year 2025 CIP Budget. Project title "Diamond Head Sewers, Improvement District". Planning contract in process. Relevant document: https://go.hawaii.edu/m8T See relevant document(s) below. | Under Evaluation (E) | https://go.hawaii.edu/8Xi |  |  | 3231.2538 | 469368.822 | 265 | 61024.8916 | 122 | 38433.3026 | 5525.6588 | 9 | 153 | 94 | 171
75 | K-13 | $$$ | 130000 | 0 | Kipuka St | Kauai | Koloa-Poipu | 0 | 77 | 0 | 77 | Poipu Wastewater Reclamation Facility | Hyatt Regency Kauai - Grand Hyatt | 0 | 2926 | 21406 | Yes, Private |  | There are currently no known plans for centralized sewer service; however, the area's density supports consideration of centralized wastewater infrastructure. | No Active Plans (N) | https://go.hawaii.edu/sCm |  |  | 2158.7363 | 172677.1519 | 98 | 161654.1796 | 2 | 22.3763 | 184.0631 | 1 | 2 | 94 | 4
76 | K-14 | $$$ | 120000 | 0 | Hoona Rd | Kauai | Omao-Kukuiula | 0 | 3 | 61 | 64 | Poipu Wastewater Reclamation Facility |  | 0 | 2432 | 17792 | Yes, Private |  | There are currently no known plans for centralized sewer service; however, the area's density supports consideration of centralized wastewater infrastructure. | No Active Plans (N) | https://go.hawaii.edu/sCm |  |  | 1331.5314 | 97176.5244 | 61 | 48524.4104 | [5 empty] | 61
77 | K-15 | $$$ | 110000 | 0 | Koloa | Kauai | Koloa-Poipu | 0 | 343 | 5 | 348 | Poipu Wastewater Reclamation Facility |  | 0 | 13224 | 96744 | Yes, Private |  | There are currently no known plans for centralized sewer service; however, the area's density supports consideration of centralized wastewater infrastructure. | No Active Plans (N) | https://go.hawaii.edu/sCm |  |  | 3837.0718 | 960587.7782 | 387 | 443701.5881 | 68 | 37902.3628 | 1260.8458 | 4 | 73 | 314 | 73
78 | K-16 | $$$$$ | 300000 | 0 | Omao | Kauai | Omao-Kukuiula | 0 | 0 | 231 | 231 | Poipu Wastewater Reclamation Facility |  | 0 | 8778 | 64218 | Yes, Private |  | There are currently no plans for centralized sewer service; however, the area's density supports consideration of centralized wastewater infrastructure. Despite the project area's proximity to an existing private wastewater service area, its size and geographic boundaries indicate connection to this existing system may be infeasible. | No Active Plans (N) | https://go.hawaii.edu/sCm | https://go.hawaii.edu/gXi |  | 4102.1568 | 844277.4229 | 216 | 184898.3643 | 46 | 13355.2606 | 4492.5173 | 6 | 56 | 156 | 60
79 | K-17 | $$ | 130000 | 0 | Lawai | Kauai | Omao-Kukuiula | 0 | 0 | 520 | 520 | Poipu Wastewater Reclamation Facility |  | 0 | 19760 | 144560 | Yes, Private |  | There are currently no plans for centralized sewer service; however, the area's density supports consideration of centralized wastewater infrastructure. Despite the project area's proximity to an existing private wastewater service area, its size and geographic boundaries indicate connection to this existing system may be infeasible. | No Active Plans (N) | https://go.hawaii.edu/sCm | https://go.hawaii.edu/gXi |  | 6128.2262 | 2375418.9766 | 653 | 520104.622 | 203 | 93598.3176 | 25765.3835 | 16 | 209 | 409 | 244
80 | K-19 | $$ | 80000 | 0 | Kalaheo | Kauai | Kalaheo-Kalawai Park | 0 | 0 | 1325 | 1325 | Poipu Wastewater Reclamation Facility |  | 0 | 50350 | 368350 | Yes, Private |  | There are currently no plans for centralized sewer service; however, the area's density supports consideration of centralized wastewater infrastructure. Despite the project area's proximity to an existing private wastewater service area, its size and geographic boundaries indicate connection to this existing system may be infeasible. | No Active Plans (N) | https://go.hawaii.edu/sCm |  |  | 9618.5927 | 5805140.7326 | 1478 | 455329.2461 | 643 | 377007.4915 | 59631.9441 | 41 | 665 | 550 | 928
81 | K-1 | $$ | 90000 | 82000000 | Kekaha | Kauai | Kekaha-Waimea | 890 | 0 | 0 | 890 | Waimea Wastewater Treatment Plant |  | 2433 | 33700 | 247420 | Yes, County | No | According to a 10/8/25 meeting with the Kauai Division of Wastewater Management, the county identifies this as one of the highest priority low hanging fruit areas. However, the current wastewater treatment plant lacks capacity and sits in a tsunami zone; relocation may be required. | No Active Plans (N) | https://go.hawaii.edu/sCm |  |  | 8786.6318 | 2472139.9177 | 1021 | 891360.486 | 7 | 521.0654 | 550.4322 | 3 | 16 | 1005 | 16
82 | K-11 | $$$$$ | 0 | 0 | Haena | Kauai | Haena-Hanalei | 122 | 0 | 0 | 122 |  |  | 0 | 4636 | 33916 | No |  | There are currently no plans for centralized sewer service; however, the area's density supports consideration of centralized wastewater infrastructure. | No Active Plans (N) | https://go.hawaii.edu/sCm |  |  | 2668.0539 | 350769.5261 | 189 | 186875.5436 | [5 empty] | 189
83 | K-20 | $$$ | 110000 | 0 | Hanalei | Kauai | Haena-Hanalei | 204 | 0 | 0 | 204 | Princeville Resort |  | 0 | 7752 | 56712 | Yes, Private |  | The Hanalei Initiative has completed a USDA-funded feasibility study evaluating area-wide wastewater options for Hanalei’s remaining cesspools and older septic systems. The effort has now moved into the next planning phase, with the Hanalei Initiative working with EPA to begin a Preliminary Engineering Report for a liquid pressure sewer system. According to a 10/8/25 meeting with the Kauai Division of Wastewater Management, there could be significant groundwater and shoreline constraints if there were to be a project in this area. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/sCm |  |  | 4247.3905 | 957921.4278 | 299 | 254584.5101 | 2 | 303.2216 | 294.5765 | 1 | 2 | 297 | 2
84 | K-12 | $$$$$ | 0 | 0 | Kilauea | Kauai | Kalihiwai-Kilauea | 0 | 0 | 572 | 572 |  |  | 0 | 21736 | 159016 | No |  | There are currently no plans for centralized sewer service; however, the area's density supports consideration of centralized wastewater infrastructure. | No Active Plans (N) | https://go.hawaii.edu/sCm | https://go.hawaii.edu/iXc |  | 5048.1816 | 1687491.1194 | 659 | 285004.2861 | 324 | 256652.0068 | 14926.2452 | 14 | 327 | 309 | 350
85 | K-2 | $$ | 70000 | 117200000 | Kapaa/Kawaihau | Kauai | Kapaa Town | 0 | 1793 | 0 | 1793 | Wailua WWTP |  | 1726 | 67892 | 498454 | Yes, County | No | According to a 10/8/25 meeting with the Kauai Division of Wastewater Management, the density of this area merits connection and could be technically feasible, but may not be economically feasible. The Wailua WWTP is in a tsunami zone and may be relocated before additional collection to this plant can be considered. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/sCm | https://go.hawaii.edu/iX6 |  | 10265.5327 | 4661952.3988 | 1946 | 3577140.6862 | 865 | 580458.1127 | 37673.4702 | 36 | 912 | 883 | 1063
86 | K-3 | $$$$$ | 540000 | 29500000 | Apopo Rd | Kauai | Kapahi | 0 | 55 | 0 | 55 | Wailua WWTP |  | 14165 | 2083 | 15290 | Yes, County | No | According to a 10/8/25 meeting with the Kauai Division of Wastewater Management, the density of this area merits connection and and could be technically feasible, but may not be economically feasible. The Wailua WWTP is in a tsunami zone and may be relocated before additional collection to this plant can be considered. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/sCm | https://go.hawaii.edu/iX6 |  | 1358.2488 | 126496.4407 | 67 |  | 7 | 1139.9056 | 1637.5816 | 2 | 10 | 57 | 10
87 | K-4 | $$$ | 190000 | 44000000 | Kapaa | Kauai | Kapaa Town | 0 | 237 | 0 | 237 | Wailua WWTP |  | 4903 | 8974 | 65886 | Yes, County | No | According to a 10/8/25 meeting with the Kauai Division of Wastewater Management, the density of this area merits connection and and could be technically feasible, but may not be economically feasible. The Wailua WWTP is in a tsunami zone and may be relocated before additional collection to this plant can be considered. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/sCm | https://go.hawaii.edu/iX6 |  | 3852.8081 | 644293.8628 | 263 | 176904.9014 | [5 empty] | 263
88 | K-5 | $$ | 60000 | 38100000 | Wailua | Kauai | Wailua Homesteads | 652 | 0 | 0 | 652 | Wailua WWTP |  | 1543 | 24688 | 181256 | Yes, County | No | According to a 10/8/25 meeting with the Kauai Division of Wastewater Management, the density of this area merits connection. The Wailua WWTP is in a tsunami zone and may be relocated before additional collection to this plant can be considered. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/sCm | https://go.hawaii.edu/iX6 |  | 4657.3982 | 1342723.8438 | 680 | 471673.6286 | 118 | 33776.8596 | 5812.7707 | 11 | 135 | 540 | 140
89 | K-6 | $$$ | 160000 | 30500000 | Olohena | Kauai | Wailua Homesteads | 149 | 36 | 0 | 185 | Wailua WWTP |  | 4354 | 7005 | 51430 | Yes, County | No | According to a 10/8/25 meeting with the Kauai Division of Wastewater Management, this area may be feasible for a regional facility, however, there are no current plans. The closest existing plant: Wailua WWTP is in a tsunami zone and may be relocated before additional collection to this plant can be considered. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/sCm |  |  | 3129.1158 | 700493.8315 | 168 | 200366.1022 | 16 | 4510.5105 | 776.5814 | 3 | 24 | 135 | 33
90 | K-7 | $$ | 70000 | 67000000 | Wailua Homesteads | Kauai | Wailua Houselots | 325 | 584 | 0 | 909 | Wailua WWTP |  | 1947 | 34419 | 252702 | Yes, County | No | According to a 10/8/25 meeting with the Kauai Division of Wastewater Management, this area may be feasible for a regional facility, however, there are no current plans. The closest existing plant: Wailua WWTP is in a tsunami zone and may be relocated before additional collection to this plant can be considered. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/sCm |  |  | 7831.9845 | 3212993.6474 | 988 | 602671.4808 | 401 | 251154.7555 | 23258.4189 | 24 | 445 | 453 | 535
91 | K-8 | $$$ | 140000 | 9800000 | Lihue | Kauai | Lihue | 0 | 70 | 0 | 70 | Lihue Wastewater Treatment Plant |  | 3697 | 2651 | 19460 | Yes, County & Private | No | According to a 10/8/25 meeting with the Kauai Division of Wastewater Management, this area may be able to be connected to county sewer in the future, however, there are no current plans. | No Active Plans (N) | https://go.hawaii.edu/sCm |  |  | 1656.8743 | 166353.6942 | 90 | 40403.4714 | 41 | 25563.2559 | 1905.1815 | 2 | 48 | 42 | 48
92 | K-9 | $$ | 80000 | 27100000 | Pua Loke, Ulu Mahi, Ulu Ko | Kauai | Lihue | 0 | 348 | 0 | 348 | Lihue-Puhi Wastewater Facility |  | 2057 | 13177 | 96744 | Yes, Private |  | According to a 10/8/25 meeting with the Kauai Division of Wastewater Management, this area is within 2 miles of the county wastewater service area, but geographic boundaries prevent the expansion of county sewer service to this area. The project area is also within 2 miles of the private Lihue-Puhi wastewater service area. | No Active Plans (N) | https://go.hawaii.edu/sCm |  |  | 3115.1822 | 702658.0493 | 358 | 53492.1419 | 299 | 426822.5523 | 10121.8498 | 8 | 316 | 49 | 309
93 | K-10 | $$$ | 140000 | 36500000 | Puhi | Kauai | Hanamaulu-Lower Puhi | 0 | 257 | 0 | 257 | Lihue-Puhi Wastewater Facility |  | 3751 | 9731 | 71446 | Yes, Private |  | According to a 10/8/25 meeting with the Kauai Division of Wastewater Management, this area is within 2 miles of the county wastewater service area, but geographic boundaries prevent the expansion of county sewer service to this area. The project area is also within 2 miles of a private wastewater service area. | No Active Plans (N) | https://go.hawaii.edu/sCm | https://go.hawaii.edu/9Xi |  | 2697.2796 | 432236.3533 | 280 | 101025.8457 | 155 | 118932.2278 | 3325.6121 | 4 | 57 | 122 | 158
94 | O-15 | $$$$ | 270000 | 52200000 | Tantalus | Oahu | Judd Hillside-Lowrey Avenue | 74 | 119 | 0 | 193 | Sand Island WWTP/Synagro |  | 7143 | 7308 | 53654 | Yes, County | Yes | According to a 10/14/25 meeting with Honolulu ENV, an LPSS system is possible but it is very costly so the City will most likely not execute a project in this area unless other regulatory demands on the CIP budget are relaxed. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/iXb |  |  | 3863.0329 | 949800.3677 | 470 | 1258311.8129 | 37 | 17503.9998 | 1019.0625 | 2 | 42 | 433 | 37
95 | O-16 | $$$$$ | 840000 | 86200000 | Aiea Heights | Oahu | Aiea Heights | 0 | 102 | 0 | 102 | Honouliuli WWTP |  | 22319 | 3862 | 28356 | Yes, County | Yes | According to a 5/15/25 meeting with Honolulu ENV, City Council was reviewing the budget for upcoming fiscal year. The project is dependent on future appropriations. The project area is shown in Fiscal Year 2025 CIP Budget to start in a future year. Relevant document: https://go.hawaii.edu/m8T See relevant document(s) below. | Under Evaluation (E) | https://go.hawaii.edu/8Xi |  |  | 1830.0942 | 187855.4674 | 137 | 19372.8206 | 75 | 41906.798 | 2730.1258 | 4 | 35 | 55 | 82
96 | O-17 | $$$$$ | 1010000 | 37300000 | Kahaluu - Kamehameha HWY | Oahu |  | 0 | 0 | 20 | 37 | Kailua |  | 26624 | 1401 | 10286 | Yes, County | Yes | According to a 10/14/25 meeting with Honolulu ENV, Project Planning funds for this project area are included in the Fiscal Year 2024 CIP Budget. Project title "Kamehameha Highway Sewers, Improvement District, KÄneâ€˜ohe". Planning contract underway. Relevant document: https://go.hawaii.edu/m8T See relevant document(s) below. | Under Evaluation (E) | https://go.hawaii.edu/8Xi |  |  | 1205.0982 | 54867.9249 | 44 | 204019.6704 | [5 empty] | 44
97 | M-5 | $$$$$ | 3300000 | 23400000 | Pakele Place | Maui | North Wailuku | 0 | 7 | 0 | 7 | Wailuku-Kahului |  | 88301 | 265 | 1946 | Yes, County | No | Based on a March 2026 meeting with Maui County Department of Environmental Management, this project area has been identified as a potential area to be connected to county sewer. An in-house study has been conducted. A Maui County study will be conducted to determine additional capacity at the Wailuku-Kahului WWTP. A Central Maui Wastewater Reclamation Facility is also planned. See relevant document(s) below. | Under Evaluation (E) | https://go.hawaii.edu/mCw | https://go.hawaii.edu/iXi |  | 654.3827 | 23257.9922 | 7 |  | 24 | 10570.9424 | 468.2904 | 1 | 27 |  | 7
98 | M-6 | $$ | 90000 | 694000 | Waikapu | Maui | Waihee-Waikapu | 0 | 8 | 0 | 8 | Wailuku-Kahului |  | 0 | 304 | 2224 | Yes, County | No | Based on a March 2026 meeting with the Maui County Department of Environmental Management, the county does not have plans for a project in this area. A Maui County study will be conducted to determine additional capacity at the Wailuku-Kahului WWTP. A Central Maui Wastewater Reclamation Facility is also planned. See relevant document(s) below. | No Active Plans (N) | https://go.hawaii.edu/mCw | https://go.hawaii.edu/iXi |  | 572.7348 | 17644.5575 | 28 | 25734.3991 | [5 empty] | 28
99 | H-42 | $$$$ |  |  | Puako | Hawaii | Kawaihae - Anaeho'omalu | 120 |  |  | 120 |  |  |  | 4536 |  | Yes, Private |  | Puako community is pursuing a sewer line connection to a nearby private treatment plant. | Under Evaluation (E) | https://go.hawaii.edu/iXD |  |  | 6594.5376 | 612333.5356 | 181 | [7 empty] | 181
100 | K-18 |  |  |  | Anahola | Kauai | [10 empty] | No |  | This project area is on DHHL Land and not in proximity to an exister centralized sewer system. There are historical documents that support feasibility of centralized treatment. See relevant document(s) below | No Active Plans (N) | https://go.hawaii.edu/FFm |  |  | 4328.36 | 939222.4475 | 345 | 462189.9512 | 15 | 1776.0812 | 666.6798 | 4 | 20 | 309 | 36
101 | K-21 |  |  |  | Hanapepe | Kauai | [5 empty] | Eleele WWTP |  |  |  |  | Yes, County | Yes, but not for every area | According to a 10/8/25 meeting with the Kauai Division of Wastewater Management, this area may be able to be connected to county sewer in the future, however, there are no current plans. | No Active Plans (N) |  |  |  | 2786.05 | 287704.1366 | 198 | 436881.4839 | 48 | 7166.1394 | 315.6627 | 1 | 51 | 191 | 7
102 | O-10 | $$$ | 150000 | 27700000 | Waianae | Oahu | Kaupuni Neighborhood Park | 86 | 102 | 0 | 188 | Waianae WWTP |  | 3891 | 7119 | 52264 | Yes, County | No | According to a 10/14/25 meeting with Honolulu ENV, only the subdivision along Piliuka Place was identified through the Waianae Wastewater Facilities Plan as being feasible for a County System. The area that is feasible for a county system will be included in the FY 2027 CIP. A study is being conducted to determine if the Waianae WWTP has capacity for additional homes. | Under Evaluation (E) | https://go.hawaii.edu/aXi |  |  | 1593.2296 | 141733.989 | 99 | 288.8288 | 43 | 8814.3164 | 832.0873 | 1 | 32 | 43 | 56