## Sheet1
Project_Name | WWTP | Capacity_MGD | Number_Homes | OPTIONAL_Acres | Main_Line_Feet | OPTIONAL_Lateral_Feet | Cost | Note | Link to Report
Honoka'a Large Cap Cesspool Conversion | Honoka'a WWTP | 200000 | 184 | 136 | 7066 |  | 4200000 | Customers counted by counting laterals. This is not a cesspool conversion project but a conversion of the treatment plant mandated by EPA so cost should be similar to a new plant or upgrarde for this many customers
Kalia-Fort DeRussy Improvements | Fort DeRussy | [6 empty] | Sewer line size increases to increase capacity. Different segments have different capacities after project. 3.07MGD, 8.1MGD, and 9.22MGD.
Wailua WWTP | Wailua WWTP |  |  | 444 | 22000 |  |  | Multi part project: with main line upgrades and treatment plant upgrades. Probably equivalent to creating new sewer coverage.
Kihei WRF UV Upgrade | Kihei WRF | [5 empty] | 400000 | Study only for UV upgrade to produce disinfected R-1 water
Kaiola Place Sewer Improvements | Kihei WRF |  | 10 | 7.4 | 630 |  | 1000000 | 8 inch main lines (630ft) and 10x 6 inch laterials with 8 manholes to connect 10 properties to Kihei WRF
Wahikuli Subdivision Gravity Sewer | Lahaina WWTP |  | 231 |  |  |  |  | Lahaina neighborhood conversion supported by HCPT. Cost unknown but partially borne by home owners
Ewa Beach Sewers | Honouilui WWTP |  | 976 | 150 | 325 |  | 55000000 | Sewer conversion for whole neighborhood supported by HCPT
Wahikuli Trail | Lahaina WWTP |  |  |  | 6635 |  | 7560000 | 20 inch force main replacement 6635ft and 24 in gravity 276ft per RFP